## CFAMS080821 Fudger Ouput
Fudger Version: 8.0
NEC Data File: CFAMS103021 Fudger Ouput.txt
Data Analyzed by: Mark Roberts
Normalization to 14 Bracketed Accepted Measurements
Error in the standards calculated from the larger of counting statistics or scatter in the average
Pos. | Sample | Ident. | Rpts | Ratio to STD | Int Err | Ext Err | del13C to STD | del 13C Int. error | del 13C Ext. error
78 | OXII-102321 | TUL-4 | 7 | 0.99958 | 0.0023542 | 0.002378 | -0.38038 | 0.1963 | 0.38201
84 | OXII-102321 | TUL-5 | 6 | 1.0075 | 0.0026322 | 0.0017183 | 1.5514 | 0.20883 | 0.21851
90 | OXII-102521 | TUL-6 | 7 | 1.0059 | 0.0024468 | 0.0026628 | 1.7866 | 0.21558 | 0.50732
97 | OXII-102521 | TUL-7 | 7 | 1.0037 | 0.0023777 | 0.0024005 | -0.99323 | 0.22534 | 0.317
104 | OXII-102521 | TUL-8 | 7 | 0.9991 | 0.0023625 | 0.0009131 | -3.0393 | 0.20696 | 0.4514
111 | OXII-102121 | TUL-9 | 6 | 0.98818 | 0.0025923 | 0.0021136 | -0.011057 | 0.2049 | 0.30824
117 | OXII-102121 | TUL-10 | 6 | 0.99401 | 0.0035385 | 0.005374 | 0.81043 | 0.20143 | 0.32996
77 | Ceylon graphite | N/A | 5 | 0.0006084 | 6.77e-05 | 7.4e-05 | 5.3927 | 0.20941 | 0.58669
79 | 19-KP-H4-88-98 | TUL-749 | 6 | 0.012076 | 0.0003252 | 0.0001948 | 17.5011 | 0.19471 | 0.43896
80 | 19-KP-H4-27-37 | TUL-750 | 6 | 0.010233 | 0.0002641 | 0.0004492 | 16.4744 | 0.19471 | 0.81458
81 | 19-KP-H4-98-108 | TUL-751 | 5 | 0.014734 | 0.0003617 | 0.0003897 | 16.0585 | 0.20417 | 0.3626
82 | PB080221 | TUL-748 | 6 | 0.0044891 | 0.0002258 | 0.0001014 | 19.0844 | 0.19471 | 0.93627
83 | 19-KP-H4-47-57 | TUL-752 | 6 | 0.021473 | 0.0003861 | 0.000264 | 15.0395 | 0.19471 | 0.33879
85 | 19-KP-H4-78-88 | TUL-753 | 6 | 0.016091 | 0.0003325 | 0.0004184 | 15.8438 | 0.21197 | 0.38847
86 | 19-KP-H4-119-128 | TUL-754 | 6 | 0.014975 | 0.000361 | 0.0003279 | 16.1405 | 0.21197 | 0.69354
87 | 19-KP-H4-109-119 | TUL-755 | 6 | 0.025513 | 0.000438 | 0.0004318 | 14.7208 | 0.21197 | 0.34936
88 | 19-KP-H4-37-47 | TUL-756 | 7 | 0.012959 | 0.0003011 | 0.0002738 | 16.6027 | 0.20144 | 0.44589
89 | PB081321 | TUL-757 | 6 | 0.0059591 | 0.0002346 | 0.0001732 | 17.0776 | 0.21197 | 1.0315
91 | 19-KP-H4-17-27 | TUL-758 | 6 | 0.019827 | 0.0004549 | 0.0005948 | 14.8854 | 0.23402 | 0.92296
92 | C8-102521 | TUL-2 | 7 | 0.12342 | 0.0008003 | 0.0006083 | -1.2195 | 0.22007 | 0.46346
93 | 19-KP-H4-58-68 | TUL-759 | 6 | 0.016059 | 0.000327 | 0.0003693 | 14.405 | 0.23402 | 0.42197
94 | 19-KP-H4-88-98 (B) | TUL-760 | 6 | 0.013979 | 0.0003275 | 0.0001892 | 15.3147 | 0.23402 | 0.43425
95 | GR01 | TUL-761 | 6 | 0.013578 | 0.0003147 | 0.0003619 | 16.1775 | 0.23402 | 0.34113
96 | GR03 | TUL-762 | 7 | 0.15969 | 0.0018903 | 0.0017573 | -5.8463 | 0.22007 | 0.59143
98 | PB082621 | TUL-766 | 6 | 0.0083229 | 0.0002346 | 0.0002044 | 14.8679 | 0.23578 | 0.31393
99 | GR04 | TUL-763 | 6 | 0.31902 | 0.0013638 | 0.0009259 | 9.5927 | 0.23388 | 0.4274
100 | GR06 | TUL-764 | 7 | 0.35482 | 0.0013886 | 0.0011787 | 11.7566 | 0.21688 | 0.21663
101 | GR13 | TUL-765 | 7 | 0.098827 | 0.0007143 | 0.0004354 | 11.6859 | 0.21688 | 0.39714
102 | PB092821 | TUL-767 | 7 | 0.0059626 | 0.000218 | 0.0001915 | 20.0742 | 0.21688 | 0.97385
103 | 19-KP-H4-68-78 | TUL-768 | 7 | 0.014784 | 0.0004404 | 0.0003788 | 20.2728 | 0.21688 | 2.6882
105 | 19-KP-H4-78-88 (B) | TUL-769 | 6 | 0.0095777 | 0.0002716 | 0.0002673 | 16.7604 | 0.19589 | 0.52206
106 | 19-KP-H4-27-37(B) | TUL-770 | 6 | 0.011795 | 0.0002903 | 0.0001416 | 16.1476 | 0.19371 | 0.41538
107 | 19-KP-H4-47-57(B) | TUL-771 | 6 | 0.017571 | 0.0004284 | 0.0004196 | 15.4953 | 0.19371 | 0.49675
108 | 19-KP-H4-119-128 (B) | TUL-772 | 6 | 0.0070464 | 0.0002697 | 0.0002592 | 9.5518 | 0.19371 | 0.44823
109 | PB101121 | TUL-776 | 5 | 0.0057926 | 0.000236 | 0.0002039 | 16.4457 | 0.20836 | 0.32276
110 | 19-KP-H1-58-68 | TUL-773 | 4 | 0.019887 | 0.0007491 | 0.0010291 | -7.5701 | 0.24159 | 1.1209
112 | 19-KP-H1-48-58 | TUL-774 | 4 | 0.016473 | 0.0004195 | 0.0003149 | 15.4777 | 0.22055 | 0.23777
113 | 19-KP-H1-68-78 | TUL-775 | 4 | 0.019223 | 0.0005046 | 0.0003786 | -10.3972 | 0.22055 | 0.43951
114 | PB781 | TUL-781 | 4 | 0.0043843 | 0.0002286 | 4.75e-05 | -10.1128 | 0.22055 | 0.43256
115 | 19-KP-H1-95-105 | TUL-777 | 5 | 0.016159 | 0.0003888 | 0.0001776 | 15.7591 | 0.20233 | 0.22493
116 | 19-KP-H1-105-114 | TUL-778 | 5 | 0.025394 | 0.0004467 | 0.00022 | 13.8128 | 0.22048 | 0.5404
118 | 19-KP-H1-27-37 | TUL-779 | 6 | 0.025641 | 0.0004023 | 0.0003298 | 12.4316 | 0.19924 | 0.23977
119 | 19-KP-H1-88-95 | TUL-780 | 5 | 0.0072796 | 0.0002602 | 0.0003579 | -7.6196 | 0.20941 | 0.39922
120 | PB782 | TUL-782 | 5 | 0.0051122 | 0.0002348 | 0.0001557 | -2.8087 | 0.20941 | 0.73937
121 | SG102421 | TUL-1 | 4 | 0.0029117 | 0.0001541 | 7.74e-05 | -34.1547 | 0.22754 | 0.5625
122 | C8-102521 | TUL-3 | 6 | 0.1234 | 0.0008281 | 0.0009809 | -2.9379 | 0.19924 | 0.31449
123 | CA20211022 | TUL-783 | 6 | 0.36209 | 0.0015049 | 0.0026285 | 11.8707 | 0.19924 | 1.046